## Slide 1: Market Mechanism-Based User-in-the-Loop Scalable Power Oversubscription for HPC Systems
Md Rajib Hossen1, Kishwar Ahmed2, Mohammad A Islam1
1The University of Texas at Arlington, 2The University of Toledo
Acknowledgement: This work is supported in parts by the NSF under grants EECS-2452357 and CNS-2300124

## Slide 2: HPC System Utilization
~5%
Gaia
~20%
Meta Centram
~55%
RICC
~65%
PIK
HPC systems are highly underutilized

## Slide 3: Power Oversubscription
Power
Utility
ATS
Backup Generator
Cluster
PDU
Server
Rack
1+1 UPS With
Redundancy
Additional server racks (without additional infrastructure investment)
Increase utilization via power oversubscription
Keep this
infrastructure fixed
Add new server racks

## Slide 4: Benefits of Power Oversubscription
Chart: Oversubscription Level (%)
| 10 | 15 | 20 | 25
Extra Capacity | 144 | 216 | 288 | 360
Overloaded Capacity | 1.25 | 3.9 | 8.9 | 17.5
144K added
vs
1.25K cut
We can add far more core-hours than we have to cut back!
Cut back to avoid overload

## Slide 5: Challenges of Oversubscription
Without handling oversubscription
With handling oversubscription
Power capacity
We propose a user-in-the-loop reactive approach to manage oversubscribed HPC

## Slide 6: Handling Power Overloads in HPC
OPT:
subject to
Performance
degradation
Target power
reduction
Challenging for HPC manager to determine the performance impact

## Slide 7: Supply Function Bidding
Maximum resource reduction
Bidding parameter
Price
Engage HPC users in the power reduction decision

## Slide 8: Power Reduction during Overload
HPC manager no longer needs to determine performance impact!
MClr:
subject to

## Slide 9: Market-based Power Reduction (MPR)
HPC User
HPC Manager
Resource Reduction
Cluster Management and Monitoring
HPC Cluster
Cluster Power
Clearing Price
Job
Bid

## Slide 10: MPR with Static Bidding (MPR-STAT)
HPC User
HPC Manager
Resource Reduction
Cluster Management and Monitoring
HPC Cluster
Cluster Power
Clearing Price
Job
Bid

## Slide 11: Interactive MPR (MPR-INT)
HPC User
HPC Manager
Resource Reduction
Cluster Management and Monitoring
HPC Cluster
Cluster Power
Job
Bid
Bid
Until clearing price converges
Bid

## Slide 12: MPR-STAT vs MPR-INT
MPR-STAT
Quick solution time
MPR-INT
Very good performance

## Slide 13: Evaluation
Real-world workload traces
Benchmarks: OPT vs EQL vs MPR

## Slide 14: Benchmark Comparison
Performance cost
Profile-wise resource reduction
MPR and OPT incurs lower performance cost

## Slide 15: Market Performance
User’s reward
HPC manager’s gain
Both HPC Users and HPC manager benefits from their participation

## Slide 16: Heterogeneous System Performance
Performance cost
Profile wise resource reduction
MPR and OPT incurs lower performance cost

## Slide 17: Key Take Away
MPR: A market-based approach to managing oversubscribed HPC
  Does not require job-wise power estimation and tracking
  User-in-the-loop
  Highly-scalable management solution
  Go beyond power subscription – carbon reduction, demand response
Thank You!

## Slide 18
Questions?